## Worksheet 1
Model | Deployment | Detector | Resolution | Accuracy | Response | Specified | Power | Dimensions | Weight | Range of
| type | type |  |  | time | flow | consumption | (mm) | (kg) | factory
[5 empty] | (t63) | rate |  |  |  | calibration
[5 empty] | (min : sec) | (L min−1)
CONTROS | FTc |  |  | ±1 % | t63 ∼1:32 |  | 350 mA | 325 x |  | 0–6000
HydroC® CO2 FT | membrane | NDIR | µatm | of | at 16 ∘C; | 2–15 | at | 240 x | 5.3 | µatm
(-4H- JENA)a | equilibration |  |  | reading | 5 L min−1 |  | 12 V | 126
CONTROS | FTc |  |  | ±2 µatm | t63 ∼22:46 |  | 600 mA | 452 x
HydroC® CH4 FT | membrane | TDLAS | µatm | or 3 % | at 17 ∘C; | 6–15 | at | 283 x | 8.5 | 40 000
(-4H- JENA)a | equilibration |  |  | of reading | 7 L min−1 |  | 12 V | 142.5 |  | µatm
CONTROS |  | Fluorescence |  |  |  |  | 0.1 J | 23×197 | 0.17 air | 0–400
HydroFlash® O2 | Submersible | quenching |  | ±1 % | t63 | N/A | per sample | with | 0.11 | mbar pO2
(KMCON)b | [7 empty] | connector | water
SBE 45d | [6 empty] | 30 mA at | 338 x |  | 0 to 7
Thermosalinograph | FTc | Conductivity | 1e-05 | ±0.0003 | N/A | 0.6–1.8 | 12–30 V | 134.4 x | 4.6 | S m−1
Conductivity |  | cell | S m−1 | S m−1 |  |  |  | 76.2
SBE 45d | [6 empty] | 30 mA at | 338 x |  | −5 to
Thermosalinograph | FTc | Thermistor | 0.0001 | ±0.002 | N/A | 0.6–1.8 | 12–30 V | 134.4 x | 4.6 | +35 ∘C
Temperature |  |  | ∘C | ∘C |  |  |  | 76.2