## Worksheet 1
Measured variables | Symbol | Units | Sensor | Manufacturer* | Sensor | Sample | Deployment dates | Additional
|  |  | type | make/model | height(s) | rate |  | comments
[5 empty] | [m] | [Hz]
Vegetation optical | VOD | – | GNSS | Septentrio, | 26 | 1/5 | August 2022–August 2023 | A
depth |  |  |  | model PolaRx5 | 1.27 | 1/5 | August 2022–August 2023
Tree sway frequency | fsway | Hz | Accelerometer | GCDC, model X16-1D | 12 | ≈ 12 | May 2016–October 2023 | B
Air temperature | Ta | °C | Platinum resistance | Vaisala, HMP-35D | 21.5 | 1 | November 1998–present | C
|  |  | thermometer (PRT) | REBS, model THP-1 | 2 | 1 | December 2014–present
Bole temperature | Tbole | °C | Type E | Omega, | 1.5 | 1/900 | July 2017–present | D
|  |  | thermocouple | FF-E-20-TWSH-SLE
Bole apparent | εa | – | Capacitance/ | Meter, | 1.5 | 1/900 | July 2017–present | E
dielectric permittivity |  |  | frequency domain | model GS3
Wetness |  | 0 = dry, 1 = wet | Circuit board | CSI, model 237 | 13.5 | 1 | November 1998–present | F
Precipitation | Precip | mm h−1 | Weighing gauge | Geonor, model T-200B | 1.5 | 1/3600 | October 2003–present | G
Evapotranspiration | ET | mm h−1 | [5 empty] | H
⟹ 3-D wind components | u, v, w, | m s−1 | Sonic | CSI, CSAT3 | 21.5, | 10, | November 1998–present
and turbulence | (u∗)z |  | anemometer | CSI, CSAT3 | 5.7, | 10, | August 2003–present
|  |  |  | CSI, CSAT3 | 2.5 | 10 | August 2003–present
⟹ Water vapor density | ρv | mg m−3 | Infrared gas | LI-COR, LI-7200 | 21.5, | 20, | May 2014–present
|  |  | analyzer (IRGA) | LI-COR, LI-7500A | 2.5, | 10, | September 2014–present
|  |  |  | LI-COR, LI-7500 | 2.5 | 10 | July 2003–September 2023